## Slide 1
The Compensatory Reserve:
Potential for Accurate Individual Goal-Directed Resuscitation
Victor A. Convertino, PhD
Senior Scientist
Battlefield Health & Trauma Center for Human Integrative Physiology
Combat Casualty Care Research Program
victor.a.convertino.civ@mail.mil

## Slide 2
Objectives
Review the concept of compensatory reserve
Defining the relationship between compensatory reserve and DO2
Using compensatory reserve to guide resuscitation based on sustaining adequate DO2

## Slide 3
Point of Decompensation
100
80
60
40
20
0
Compensatory Reserve, %
Compensatory Reserve
Reduced
Oxygen
Delivery
Moulton et al, J Trauma 75:1053-1059, 2013
Provides a metric of the sum total of all compensatory mechanisms that together contribute to protect against inadequate oxygen delivery (DO2) during low circulating blood volume states
Zero
CR
Critical
DO2
=

## Slide 4
Systolic peak
Diastolic
Ejected wave
Reflected wave
Normovolemic waveform
Ejected
wave
Reflected
wave
Hemorrhage waveform
Arterial Waveform Features
as a Marker of Compensation
Convertino et al, Shock 45:80-90, 2016
Ejection wave features = cardiac compensation mechanisms
Reflected wave features = vascular compensation mechanisms

## Slide 5
Convertino et al, J Appl Physiol 115:1196-1202, 2013
Compensatory Reserve = 100%
Reserve
to
Compensate
Compensatory Reserve = 50%
Compensatory Reserve = 0%
Identify the most similar waveform
How the Algorithm Works *
Unknown
Individual’s
Arterial
Waveform
* Base on
>200 subjects
with >650,000
waveforms

## Slide 6
Kaplan–Meier survival curve analysis
Schiller et al, Exp Biol Med 242:874-883, 2017
0%
25%
50%
75%
100%
Percent Compensating
0 10 20 30 40
Time (minutes)
Poor Compensators (N = 68)

## Slide 7
Kaplan–Meier survival curve analysis
Schiller et al, Exp Biol Med 242:874-883, 2017
Good Compensators (N = 134)
Poor Compensators (N = 68)
0 10 20 30 40
Time (minutes)
0%
25%
50%
75%
100%
Percent Compensating

## Slide 8
30
40
50
60
70
80
90
100
Subject 1
1400
1200
1000
800
600
400
200
0
Blood Loss, ml
Compensatory Reserve, %
Goal-Directed Resuscitation
Controlled Human Hemorrhage Model
Subject 2
30
40
50
60
70
80
90
100
1400
1200
1000
800
600
400
200
0
Blood Loss, ml
Resuscitation
Convertino et al, Shock 44(suppl. 1):27-32, 2015
Convertino et al, Shock 44(suppl. 1):27-32, 2015

## Slide 9
StO2 + PCr
Normal
Resting
State
Delivery
Dependent
VO2
Delivery
Independent
VO2
OER
Lactate
VO2
SvO2
DO2crit
Onset of
O2 Deficit
Death
DO2
Decrease
Hemorrhage
Framework for continuum of metabolic relationship of oxygen delivery (DO2), utilization (VO2), and compensatory reserve (CR)
Hooper et al, Shock 41 (Suppl 1):13-20, 2014
SvO2
OER
Lactate
0%
CR
100%

## Slide 10
Relationship between DO2 and Compensatory Reserve
Compensatory Reserve Measurement (%)
0
10
20
30
40
50
60
70
80
90
100
0
2
4
6
8
10
12
14
16
DO2 (mL O2∙kg-1 ∙min-1)
R² = 0.93
DO2crit = 5.3 mL O2∙kg-1 ∙min-1
CRM = 0%
DO2 = 13.3 mL O2∙kg-1 ∙min-1
CRM = 100%
DO2 (mL O2∙kg-1 ∙min-1) = 0.08 X CR (%) + 5.3
Koons et al, Shock 2019 (ePub ahead of print)
DO2 = CO X Hgb X SaO2

## Slide 11
Using Compensatory Reserve
To Guide Resuscitation

## Slide 12
Relationship between DO2 and Compensatory Reserve
Compensatory Reserve (%)
0
10
20
30
40
50
60
70
80
90
100
0
2
4
6
8
10
12
14
16
DO2 (mL O2∙kg-1 ∙min-1)
R² = 0.93
DO2crit = 5.3 mL O2∙kg-1 ∙min-1
CRM = 0%
DO2 = 13.3 mL O2∙kg-1 ∙min-1
CRM = 100%
DO2 (mL O2∙kg-1 ∙min-1) = 0.08 X CRM (%) + 5.3
Koons et al, Shock 2019 (ePub ahead of print)

## Slide 13
Compensatory Reserve (%)
B
End of Hem.
End of Res.
0
10
20
30
40
50
60
70
80
90
100
0
10
20
30
40
50
60
70
80
90
100
B
End of Hem.
End of Res.
Replaced Blood Volume (%)
Targeted Resuscitation using CRM
50 ml/min (N=12)
Systolic Blood Pressure (mmHg)
B
End of Hem.
End of Res.
40
60
80
100
120
140
160
CRM = 35%
BV Replaced = 40%
SBP ≈ 90 mmHg
Koons et al, Shock 2019 (ePub ahead of print)

## Slide 14
Goal-directed Resuscitation
CRM
88%

## Slide 15
Effective Resuscitation =
Sustaining the Compensatory Reserve
above DO2crit

## Slide 16
Early hemorrhage detection
Accurate marker of patient status without baseline
Green-Yellow-Red indications for medics
Non-invasive continuous goal-directed resuscitation
Based upon complex integration of total physiological compensation
Specific to the individual patient (e.g., distinguishes those at highest risk)
FDA-cleared
Summary benefits for measuring the Compensatory Reserve

## Slide 17
Thank you

## Slide 18
Decompensation
Baseline
0
20
40
60
80
Tissue Oxygenation, StO2 (%)
Low Tolerant
High Tolerant
0.0
0.2
0.4
0.6
0.8
1.0
1-Specificity
0.0
0.2
0.4
0.6
0.8
1.0
Sensitivity
Compensatory Reserve vs. StO2
StO2 (AUC = 0.68)
CRM (AUC = 0.90)
*

## Slide 19
-100
-80
-60
-40
-20
0
% Change in Compensatory Reserve
Hemorrhage Baboons (N = 12)
LBNP Baboons (N = 12)
LBNP Humans (N = 200)
0
-10
-20
-30
-40
-50
-60
-70
-80
-90
LBNP (mmHg)
6.25%
12.5%
18.75%
25%
Baboon Hemorrhage/LBNP vs. Human LBNP
Koons et al, Shock 2019 (ePub ahead of print)