## Slide 1: Hemostasis Monitoring Comparisons And Future Directions
Nathan J. White, MD
Associate Professor of Emergency Medicine
University of Washington Seattle, Washington, USA

## Slide 2: Disclosures
Cofounder, stockholder, and consultant to Stasys Medical Corp. (Platelet Diagnostic)
Consultant to Tournitek, Inc.
Member, Trauma Hemostasis & Oxygenation Research (THOR) Network.
Visiting Clinician Scientist, Lee Kong Chian School of Medicine, Nanyang Technological University, Singapore
Grant Funding from U.S. NIH, DoD, iTrauma Care
One time travel Support from Vidacare Corp, TEM Int., CSL Behring
Inventor: platelet diagnostic and hemostatic biopolymer

## Slide 3: Outline
Strong Medicine: https://www.youtube.com/watch?v=5GPPt0kftfE
What is the assay?
How is it performed?
What is the relevance to trauma?
Pitfalls?

## Slide 4: Trauma-Induced Coagulopathy
Chang, et al. Blood. 2016 Aug 25;128(8):1043-9.
Notes: To monitor and treat TIC we must be comfortable with all parts of the hemostatic system, because all parts are affected.

## Slide 5: Coagulation Cascade
Davie E W J. Biol. Chem. 2003;278:50819-50832
©2003 by American Society for Biochemistry and Molecular Biology
Notes: A, “waterfall sequence for intrinsic blood clotting” from Ref. 68. B, “coagulation cascade and fibrin formation by the intrinsic and extrinsic pathways” modified from Ref. 4.

## Slide 6: Coagulation Cascade Monitoring
http://teachingcases.hematology.org/green/teaching_points.cfm
Normal PT
reference range 13-15 seconds.
Normal aPTT reference range 27-35 seconds.
http://circuitsurfersdotcom.files.wordpress.com/2011/02/ptt.jpg

## Slide 7: Method of Measurement
Absorbance
Mechanical
More susceptible to changes in fibrin polymerization-- Starches

## Slide 8: Relevance to Trauma
Trauma Coagulopathy
PT/INR
  PTr/INR > 1.2
    Mortality doubled (7-15%), increased transfusion requirement
  INR >1.5
    More specific, increased mortality, organ failure, and VTE.
aPTT
  aPTT > 60 sec
Rizoli et al. J Trauma. 2011; 71(5 Suppl 1): S427–S434.
Frith et al. JTH 2010, 8: 1919–1925
Peltan et al. Crit Care Med 2015; 43:1429–1438
Brohi et al. J Trauma. 2003;54:1127–1130

## Slide 9: Pitfalls
http://www.practical-haemostasis.com/Screening%20Tests/pt.html
Blind to primary hemostasis (Platelet, vWF)
Sensitive to changes in fibrinogen concentration, fibrin polymerization, fibrin degradation products, and FXIIIa activity
Insensitive to hypothermia

## Slide 10: Fibrinogen
Weisel. Biophysical Chemistry 112 (2004) 267– 276

## Slide 11: Fibrinogen Monitoring
Assays
  Clauss (based upon thrombin-induced clotting time)
  PT-derived (based upon the PT)
  Immunological (fibrinogen antigen)
  Gravimetric (clot weight)
  Viscoelastic Assays with platelet inhibition
Normal range = 2-4 g/L (200-400mg/dl)
http://practical-haemostasis.com/Screening%20Tests/fibrinogen.html
Notes: Clauss is strongly favored over the PT method

## Slide 12: Relevance to Trauma
Trauma Coagulopathy
Hypofibrinogenemia is strongly associated with increased mortality
≤1.5g/L in 8.2%, and <2 g/L in 19.2% of trauma patients
Nonlinear relationship between fibrinogen and mortality
Clauss Fibrinogen
  < 2.29 g/L, (or 229 mg/dl) associated with increased mortality
Hagemo et al. Critical Care 2014, 18:R52
Rourke et al. J Thromb Haemost 2012; 10: 1342–51.

## Slide 13: Pitfalls
http://www.practical-haemostasis.com/Screening%20Tests/pt.html
Blind to primary hemostasis (Platelet, vWF)
Sensitive to changes in fibrin polymerization (Calcium, ionic strength, temperature), fibrin degradation products, and FXIIIa activity
Sensitive to Direct Thrombin Inhibitors

## Slide 14: Whole-Blood Coagulation
http://eclinpath.com/hemostasis/physiology/secondary-hemostasis/secondary-haemostasis/

## Slide 15
Hochleitner et al. Clinical and Applied Thrombosis/Hemostasis, 2015:1-10
Viscoelastic Hemostatic Assays
Tynngård et al. Thrombosis Journal (2015) 13:8

## Slide 16: Relevance to Trauma
Lier et al. Hämostaseologie 2013; 33:
Davenport ,et al. Crit Care Med 2011 Vol. 39, No. 12

## Slide 17: Pitfalls
Insensitive to primary hemostasis and platelet function
    Collagen, ADP, AA
Insensitive to fibrinolytic activation.
Single parameters are difficult to interpret and require context.
High PAP
+
Low ML
Low PAP
+
Low ML
High PAP
+
High ML
Raza et al. JTH 2013; 11: 307–314
Noorman and Hess. TRANSFUSION 2018;58;2430–2436
Notes: Effect of platelets on MA is dependent upon fibrinogen concentration. So in order to decide treatment one of these must be known.

## Slide 18
Multiplexed VHA’s

## Slide 19: Relevance to Trauma Care
ROTEM Systematic Review
  13 Studies
  Moderate Quality (no RCT’s)
  EXTEM and FIBTEM clot amplitude (CA5, CA10) or maximal clot firmness (MCF) diagnose coagulopathy, predict blood transfusion, and mortality.
  The presence of fibrinolysis associated with mortality.
Single center randomized controlled trial showed survival benefit for TEG vs. plasmatic factors.
Gonzalez et al. Ann Surg 2016;263:1051–1059
Veigas et al. Scandinavian Journal of Trauma, Resuscitation and Emergency Medicine (2016) 24:114

## Slide 20: Platelets
Credit: David Motto MD, PhD. Bloodworks Northwest, Seattle, WA
Adhesion and Aggregation
Contraction
Credit: Diagouraga B et al. J Cell Biol 2014;204:177-185

## Slide 21: Platelets Count
Transfusion, June 2012
Notes: Most platelet counts are normal upon arrival.
Admission platelet count is directly related to mortality
However, this may be only half the story.

## Slide 22: Platelet Function Monitoring Adhesion and Aggregation
Light Transmittance Aggregometry
(ex. Chronolog, Verify Now)
Impedance Aggregometry
(ex. Multiple Electrode Aggregometry)
Aperture Occlusion Time
(ex. PFA-100)
Grove. Dan Med J 2012;59(9):B4506

## Slide 23: Relevance to Trauma Platelet Aggregation
Kutcher et al. J Trauma Acute Care Surg. 2012.
10X Mortality
Grove. Dan Med J 2012;59(9):B4506
Notes: Low grade aggregation deficits….
Important to survival
Mechanism is unknown…

## Slide 24: Platelet Function Monitoring Clot Contraction
Anesth & Analg May 2009 vol. 108 no. 5 1425-1429
Wohlauer et al. J am Coll Surg 2012;214:739-746
% Inhibition
Notes: The two primary determinants of clot strength is platelet contraction (70-80%) and fibrin.

## Slide 25: Aggregation or Contraction?
N=52 ED trauma patients, ISS=21.5, Mortality = 17%
  Only MP aggregation was significantly decreased in patients who died during hospitalization
  Only the TEG PM values were significantly lower in patients receiving any blood products within the first 4 h after arrival to the hospital
George et al. Transfusion Medicine, 2017

## Slide 26: Pitfalls
Sensitive to Hct and platelet count
  LTA
  Multiplate
  PFA-100
    Plt <80 · 109/L,
    Hct <30%
Sensitive to vWF
Sensitive to handling
LTA
MEA
Femia et al. J Thromb Haemost 2013; 11: 2193–6.
Notes: Effect of platelets on MA is dependent upon fibrinogen concentration. So in order to decide treatment one of these must be known.

## Slide 27: Future Directions
Santos-Martinez et al. Analyst, 2011, 136, 5120
https://hemosonics.com/technology/
Notes: Quartz Crystal Microbalance with Dissipation monitoring (QCM-D)

## Slide 28: Ultrasound-Actuated VHA
Sonic Estimation of Elasticity via Resonance (SEER)
Correlation with VHA’s in cardiac surgery
Corey et al. Ann Biomed Eng. 2016 May ; 44(5): 1405–1424.
Baryshnikova et al. Journal of Cardiothoracic and Vascular Anesthesia 33 (2019) 15901598

## Slide 29: Microfluidics
Schoeman et al. Cell Mol Bioeng. 2017 February ; 10(1): 3–15
Notes: Advantage of reproducing in vivo conditions of blood flow.

## Slide 30: Mulitmodal Monitoring
Li et al. J Trauma Acute Care Surg. 2016;80: 440–449
Neeves et al. JTH, 6: 2193–2201

## Slide 31: Microfluidic Platelet Function
Stalker et al. Blood. 2013;121(10):1875-1885)
Notes: Shell and core model of hemostasis

## Slide 32: Shear-Induced Platelet Activation
Ting et al. Nat Commun. 2019 Mar 13;10(1):1204

## Slide 33: Microfluidic Platelet Forces
Optical Reading
Force Data

## Slide 34: Microfluidic Platelet Forces after Trauma
Ting et al. Nat Commun. 2019 Mar 13;10(1):1204

## Slide 35: Microfluidics
Advantages
Scale
Time
Flexibility
Multiplex
In Vivo
Disadvantages
Reliability
Reproducibility
Manufacturing
Trauma relevance

## Slide 36: THANK YOU!